| Property: | Intracoastal Condominium |  | Address: | 1505 N Riverside Drive. Pompano Beach, FL 33062 |
| --- | --- | --- | --- | --- |
| Permit #: | 25-00001607 |  | Project: | Roofing Project |
| Owner: | Intracoastal Tower Condominium Association |  | Contractor: | Best Roofing |
| Inspection Date: |  | 04/01/2025 |  |  |  |
| Applicable RFI: |  | N/A |  |  |  |
| Component Inspected: |  | Roof |  |  |  |
| Contractor’s Representative(s): |  | Justin Croyle |  |  |  |
| Inspector(s): |  | Jholyn Gutierrez |  |  |  |
| Pending Work: |  | Remainder of tear off. |  |  |  |

| Field Conditions: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather: | Clear | ☐ | Cloudy | ☒ | Overcast | ☐ |  | Temperature: | 84° |
|  | Sunny | ☒ | Windy | ☐ | Rainy | ☐ |  | Time of Day: | AM |
|  | Humid | ☐ | Foggy | ☐ | Lightning | ☐ |  |  |  |

- Precast Concrete Unit Inspection

| Location: | N/A |
| --- | --- |
| Inspection Outcome: | N/A |
| Comments: | N/A |

- Reinforced Masonry Unit Inspections

| Location: | N/A |
| --- | --- |
| Concrete Mix Design: | N/A |
| Concrete Strength: | N/A |

- Miscellaneous

| Location: | LR-STK04, 05 |
| --- | --- |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon observed Best roofing tear off the existing roof squares under the air-conditioning units, followed by the cleaning, preparation and application of ASTM D 41 Asphalt primer. All layers and procedures complied with GAF specification package sections 3.02-12. Pictures were provided by the contractor for the remainder of tear off during the first week. The structural concrete deck was exposed and complied with a suitable thickness before proceeding with the system layers. New aluminum air-conditioning stands were also installed and fastened in accordance with Engineering Express drawings. |

| Inspected By: | Jholyn Gutierrez |  | STAMP HERE |
| --- | --- | --- | --- |
| Approved By: | Charles S. Long, PE |  |  |
| Date Approved: |  |  |  |

| Representative Photos: |  |
| --- | --- |
| - Tear off down to the existing concrete deck. The deck surface was dry, clean, and sounded. Complies with GAF requirements Section III | - Applied layer of asphalt primer ASTM D 41 to dry/clean concrete deck. Complies with GAF requirements Section III |
| - Applied layer of asphalt primer ASTM D 41 to dry/clean concrete deck. Complies with GAF specification requirements | - Installation of new air-conditioning stands. AC stand meets detail 2/1 provided by Engineering Express |