| Property: | Intracoastal Condominium |  | Address: | 1505 N Riverside Drive. Pompano Beach, FL 33062 |
| --- | --- | --- | --- | --- |
| Permit #: | 25-00001607 |  | Project: | Roofing Project |
| Owner: | Intracoastal Tower Condominium Association |  | Contractor: | Best Roofing |
| Inspection Date: |  | 04/04/2025 |  |  |  |
| Applicable RFI: |  | N/A |  |  |  |
| Component Inspected: |  | Roof |  |  |  |
| Contractor’s Representative(s): |  | Justin Croyle |  |  |  |
| Inspector(s): |  | Jholyn Gutierrez |  |  |  |
| Pending Work: |  | NA |  |  |  |

| Field Conditions: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather: | Clear | ☐ | Cloudy | ☒ | Overcast | ☐ |  | Temperature: | 81° |
|  | Sunny | ☒ | Windy | ☐ | Rainy | ☐ |  | Time of Day: | AM |
|  | Humid | ☐ | Foggy | ☐ | Lightning | ☐ |  |  |  |

- Precast Concrete Unit Inspection

| Location: | N/A |
| --- | --- |
| Inspection Outcome: | N/A |
| Comments: | N/A |

- Reinforced Masonry Unit Inspections

| Location: | N/A |
| --- | --- |
| Concrete Mix Design: | N/A |
| Concrete Strength: | N/A |

- Miscellaneous

| Location: | LR-STK-05 |
| --- | --- |
| Inspection Outcome: | In-Progress |
| Comments: | Air conditioning stack 5 was inspected for compliance with GAF specifications. AC stand Flashing and stand supports were in compliance with Engineering Express specifications and drawings. |
| Location: | LR- R2, R3, R4 -NORTH WALL |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon performed an inspection of the knee wall repairs for Repair 2, 3, and 4 on the north wall. Rebar coating applications were in compliance with EOR specifications. Coating applied was Sika Armatec 1C. repairs were approved for the pouring of concrete. |

| Inspected By: | Jholyn Gutierrez |  | STAMP HERE |
| --- | --- | --- | --- |
| Approved By: | Charles S. Long, PE |  |  |
| Date Approved: |  |  |  |

| Representative Photos: |  |
| --- | --- |
| - Knee wall was inspected and approved for concrete pouring. Rebar coated with Sika Armatec 1C, approved by EOR | - Knee wall repair in progress. Rebar coated with Sika Armatec 1C, approved by EOR |
| - Re-inspecting support beams for proper cut off length of max 12” according to page 3 of Engineering Express’s drawings. | - Verifying proper flashing at AC stand bases. All flashing was compliant with GAF specifications. |