| Property: | Intracoastal Condominium |  | Address: | 1505 N Riverside Drive. Pompano Beach, FL 33062 |
| --- | --- | --- | --- | --- |
| Permit #: | 25-00001607 |  | Project: | Roofing Project |
| Owner: | Intracoastal Tower Condominium Association |  | Contractor: | Best Roofing |
| Inspection Date: |  | 04/8/2025 |  |  |  |
| Applicable RFI: |  | N/A |  |  |  |
| Component Inspected: |  | Roof |  |  |  |
| Contractor’s Representative(s): |  | Justin Croyle |  |  |  |
| Inspector(s): |  | Jholyn Gutierrez |  |  |  |
| Pending Work: |  | NA |  |  |  |

| Field Conditions: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather: | Clear | ☒ | Cloudy | ☒ | Overcast | ☐ |  | Temperature: | 81° |
|  | Sunny | ☒ | Windy | ☐ | Rainy | ☐ |  | Time of Day: | AM |
|  | Humid | ☐ | Foggy | ☐ | Lightning | ☐ |  |  |  |

- Precast Concrete Unit Inspection

| Location: | N/A |
| --- | --- |
| Inspection Outcome: | N/A |
| Comments: | N/A |

- Reinforced Masonry Unit Inspections

| Location: | N/A |
| --- | --- |
| Concrete Mix Design: | N/A |
| Concrete Strength: | N/A |

- Miscellaneous

| Location: | LR-STK06 |
| --- | --- |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon re-inspected aluminum AC stands in stack 06 for compliance with page 3 overhand requirements of Engineer Express drawings. Overhangs were compliant with EE’s max overhand of 12 inches. |
| Location: | LR-R2, R3, R4 -NORTH WALL |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon inspected the knee wall repairs on the north side of the roof. Some repairs showed signs of cracking as seen in sample photos. The contractor was directed to rework repairs in accordance with EORs specifications. |

| Inspected By: | Jholyn Gutierrez |  | STAMP HERE |
| --- | --- | --- | --- |
| Approved By: | Charles S. Long, PE |  |  |
| Date Approved: |  |  |  |

| Representative Photos: |  |
| --- | --- |
| - Inspection of knee wall repairs on north wall, repairs show signs of cracking. Contractor directed to repair cracking per EORs specifications. | - Knee wall repairs inspected on north wall. Repair showed signs of cracking. Contractor directed to repair cracking per EORs specifications. |
| - Inspection of AC support beam overhangs. Cut offs complied with page 3 of Engineering Express drawings. | - Split Pipe Boot showing compliance with GAF material. Installation was inspected to ensure repair was compliant with GAF application requirements. |