| Property: | Intracoastal Condominium |  | Address: | 1505 N Riverside Drive. Pompano Beach, FL 33062 |
| --- | --- | --- | --- | --- |
| Permit #: | 25-00001607 |  | Project: | Roofing Project |
| Owner: | Intracoastal Tower Condominium Association |  | Contractor: | Best Roofing |
| Inspection Date: |  | 04/16/2025 |  |  |  |
| Applicable RFI: |  | N/A |  |  |  |
| Component Inspected: |  | Roof |  |  |  |
| Contractor’s Representative(s): |  | Justin Croyle |  |  |  |
| Inspector(s): |  | Jholyn Gutierrez |  |  |  |
| Pending Work: |  | NA |  |  |  |

| Field Conditions: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather: | Clear | ☐ | Cloudy | ☒ | Overcast | ☐ |  | Temperature: | 72° |
|  | Sunny | ☒ | Windy | ☐ | Rainy | ☐ |  | Time of Day: | AM |
|  | Humid | ☐ | Foggy | ☐ | Lightning | ☐ |  |  |  |

- Precast Concrete Unit Inspection

| Location: | N/A |
| --- | --- |
| Inspection Outcome: | N/A |
| Comments: | N/A |

- Reinforced Masonry Unit Inspections

| Location: | N/A |
| --- | --- |
| Concrete Mix Design: | N/A |
| Concrete Strength: | N/A |

- Miscellaneous

| Location: | LR-STK-ALL |
| --- | --- |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon Inspected AC conduits along with condensate lines for all AC stacks. The contractor provided a line jack for AC condensate lines in stack 05 but did not provide any approved drawing or calculations despite multiple requests. Condenser lines still require painting; contractor directed to finish condenser lines per GAF specification section 2.06-part A - 2. |

| Inspected By: | Jholyn Gutierrez |  | STAMP HERE |
| --- | --- | --- | --- |
| Approved By: | Charles S. Long, PE |  |  |
| Date Approved: |  |  |  |

| Representative Photos: |  |
| --- | --- |
| - Existing corroded conduit lines called out for repairs. | - Existing corroded conduit lines called out for repairs. |
| - Installation of line jack for AC condensate line. No product details were provided. Condenser lines still require painting per GAF Spec. section 2.06-part A-2. | - Installation of new conduit lines for AC units in accordance with FBC Chapter 27. |