| Property: | Intracoastal Condominium |  | Address: | 1505 N Riverside Drive. Pompano Beach, FL 33062 |
| --- | --- | --- | --- | --- |
| Permit #: | 25-00001607 |  | Project: | Roofing Project |
| Owner: | Intracoastal Tower Condominium Association |  | Contractor: | Best Roofing |
| Inspection Date: |  | 05/29/2025 |  |  |  |
| Applicable RFI: |  | N/A |  |  |  |
| Component Inspected: |  | Roof |  |  |  |
| Contractor’s Representative(s): |  | Justin Croyle |  |  |  |
| Inspector(s): |  | Jholyn Gutierrez |  |  |  |
| Pending Work: |  | NA |  |  |  |

| Field Conditions: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weather: | Clear | ☐ | Cloudy | ☒ | Overcast | ☐ |  | Temperature: | 72° |
|  | Sunny | ☒ | Windy | ☐ | Rainy | ☐ |  | Time of Day: | AM |
|  | Humid | ☐ | Foggy | ☐ | Lightning | ☐ |  |  |  |

- Precast Concrete Unit Inspection

| Location: | N/A |
| --- | --- |
| Inspection Outcome: | N/A |
| Comments: | N/A |

- Reinforced Masonry Unit Inspections

| Location: | N/A |
| --- | --- |
| Concrete Mix Design: | N/A |
| Concrete Strength: | N/A |

- Miscellaneous

| Location: | LR-STK-ALL |
| --- | --- |
| Inspection Outcome: | In-Progress |
| Comments: | Marcon Inspected all stacks for finalizations. EverGuard TPO Walkway mats were installed on roof walkways. Mats were inspected and installed in compliance with GAF Guide Specifications Section 2.06 Part E-1. Knee-wall caps were inspected; all caps were fastened in compliance with Section 3.09 Part F-6. |

| Inspected By: | Jholyn Gutierrez |  | STAMP HERE |
| --- | --- | --- | --- |
| Approved By: | Charles S. Long, PE |  |  |
| Date Approved: |  |  |  |

| Representative Photos: |  |
| --- | --- |
| - EverGuard TPO Walkways installed in compliance with GAF specifications Section 2.06 Part E-1. | - EverGuard TPO Walkways installed in compliance with GAF specifications Section 2.06 Part E-1. |
| - Metal knee-wall Cap, Installation in compliance with Section 3.09 Part F-6 | - Metal knee-wall Cap, Installation in compliance with Section 3.09 Part F-6 |